## Assets
Asset_Facility_Name | Asset_Name | Asset_Description | Asset_Serial_no | Asset_Parent_Name | DC_Capacity | DC_Rating | AC_Rating | Module_Quantity | Asset_category_name | Asset_Type_Name | Asset_Status_Name | Description_Maintenance | Warranty Type | Asset_warranty_Provider | Asset_Warranty_Start_Date | Asset_Warranty_Expiry_Date | Warranty Tenure (How many years/month/days) | Asset_Warranty_Certificate_No | Asset_Manufacturer_Name | Asset_Supplier_Name | Asset_Model_Name | Asset_cost | Asset_Currency | Asset_BarCode | Asset_UNSPC_Code | Asset_Purchase_Code | Asset_Customer_Name | Asset_Owner_Name | Asset_SPV_Name | Asset_Operator_Name | Asset_calibration/testing_date | Asset_calibration_frequency | Asset_Last_calibration_date | Calibration_Next_Due_date | Calibration_reminder_days | AC_Capacity | Stock_Count | Asset_Warranty_Term | Warranty_Description
RISEN_SOLAR_BLOCK_1 | RISEN_SOLAR_BLOCK_1_WMS |  | WMS1737001 |  | 5000 |  |  | 20 | WMS | Main Inventry | In Operation |  | Basic | APSEB | 2023-04-28 | 2025-04-27 | 24 months | 210001 | APSEB | Trinity Touch |  | 500000 | INR |  |  |  | Softel Technologies | Risen Energy |  | HFE |  | 5 | 2023-04-26 | 2023-07-26 | 30 | 2000 | 20 | Meter | Warranty
RISEN_SOLAR_BLOCK_1 | RISEN_SOLAR_BLOCK_1_Inv_Transformer |  | INVT1737001 |  | 5000 |  |  | 20 | Inverter Transformer | Main Inventry | In Operation |  | Basic | APSEB | 2023-04-28 | 2025-04-27 | 24 months | 211001 | APSEB | Trinity Touch |  | 400000 | INR |  |  |  | Softel Technologies | Risen Energy |  | HFE |  | 6 |  |  | 30 | 2000 | 20 | Process Completion | Warranty
RISEN_SOLAR_BLOCK_1 | RISEN_SOLAR_BLOCK_1_INV_1 |  | INV1737001 | RISEN_SOLAR_BLOCK_1_Inv_Transformer | 5000 |  |  | 20 | Inverter | Main Inventry | In Operation |  | Basic | APSEB | 2023-04-28 | 2025-04-27 | 24 months | 220001 | APSEB | Trinity Touch |  | 200000 | INR |  |  |  | Softel Technologies | Risen Energy |  | HFE |  | 6 |  |  | 15 | 2000 | 20 | Meter | Warranty
RISEN_SOLAR_BLOCK_1 | RISEN_SOLAR_BLOCK_1_INV_2 |  | INV1737002 | RISEN_SOLAR_BLOCK_1_Inv_Transformer | 5000 |  |  | 20 | Inverter | Main Inventry | In Operation |  | Basic | APSEB | 2023-04-28 | 2025-04-27 | 24 months | 220002 | APSEB | Trinity Touch |  | 200000 | INR |  |  |  | Softel Technologies | Risen Energy |  | HFE |  | 6 |  |  | 15 | 2000 | 20 | Meter | Warranty
RISEN_SOLAR_BLOCK_1 | RISEN_SOLAR_BLOCK_1_INV_1_SCB_1 |  | SCB1737001 | RISEN_SOLAR_BLOCK_1_INV_1 | 5000 |  |  | 20 | SCB | Main Inventry | In Operation |  | Basic | APSEB | 2023-04-28 | 2025-04-27 | 24 months | 216001 | APSEB | Trinity Touch |  | 80000 | INR |  |  |  | Softel Technologies | Risen Energy |  | HFE |  | 8 |  |  | 30 | 2000 | 20 | Process Completion | Warranty
RISEN_SOLAR_BLOCK_1 | RISEN_SOLAR_BLOCK_1_INV_1_SCB_2 |  | SCB1737002 | RISEN_SOLAR_BLOCK_1_INV_1 | 5000 |  |  | 20 | SCB | Main Inventry | In Operation |  | Basic | APSEB | 2023-04-28 | 2025-04-27 | 24 months | 216002 | APSEB | Trinity Touch |  | 80000 | INR |  |  |  | Softel Technologies | Risen Energy |  | HFE |  | 8 |  |  | 30 | 2000 | 20 | Process Completion | Warranty
RISEN_SOLAR_BLOCK_1 | RISEN_SOLAR_BLOCK_1_INV_2_SCB_1 |  | SCB1737003 | RISEN_SOLAR_BLOCK_1_INV_2 | 5000 |  |  | 20 | SCB | Main Inventry | In Operation |  | Basic | APSEB | 2023-04-28 | 2025-04-27 | 24 months | 216003 | APSEB | Trinity Touch |  | 80000 | INR |  |  |  | Softel Technologies | Risen Energy |  | HFE |  | 8 |  |  | 30 | 2000 | 20 | Process Completion | Warranty
RISEN_SOLAR_BLOCK_1 | RISEN_SOLAR_BLOCK_1_INV_2_SCB_2 |  | SCB1737004 | RISEN_SOLAR_BLOCK_1_INV_2 | 5000 |  |  | 20 | SCB | Main Inventry | In Operation |  | Basic | APSEB | 2023-04-28 | 2025-04-27 | 24 months | 216004 | APSEB | Trinity Touch |  | 80000 | INR |  |  |  | Softel Technologies | Risen Energy |  | HFE |  | 8 |  |  | 30 | 2000 | 20 | Process Completion | Warranty
Note on E1: Jyotsna Singh: Immediate parent name

## Categories
id | name | description | createdAt | updatedAt | status | calibrationStatus | createdBy | updatedBy
1 | In Operation | Asset In Operation | 2018-02-22 13:34 | 2019-12-09 11:29 | 0 | 0 | 3 | 2180
2 | Inverter | Inverter | 2018-02-22 13:35 | NULL | 1 | 0 | 3 | 0
3 | MFM | Multi Function Meter | 2018-02-22 13:35 | NULL | 1 | 0 | 3 | 0
4 | SCB | String Combiner Box | 2018-02-22 13:35 | NULL | 1 | 0 | 3 | 0
5 | WMS | Weather Monitoring Station | 2018-02-22 13:36 | 2021-02-03 11:49 | 1 | 1 | 3 | 2212
6 | Transformer | Transformer | 2018-02-22 13:36 | NULL | 1 | 0 | 3 | 0
7 | Switchgear | Switchgear | 2018-02-22 13:36 | NULL | 1 | 0 | 3 | 0
8 | SCADA | SCADA | 2018-02-22 13:36 | NULL | 1 | 0 | 3 | 0
9 | Modules | Modules | 2018-02-22 13:36 | 2019-11-08 12:20 | 0 | 0 | 3 | 2180
10 | Table | Modules Table | 2018-02-22 13:36 | 2019-07-30 11:38 | 1 | 0 | 3 | 2180
11 | Tracker | Tracker | 2018-02-22 13:37 | NULL | 1 | 0 | 3 | 0
12 | Fire Protection System | Fire Protection System | 2018-02-22 13:37 | NULL | 1 | 0 | 3 | 0
13 | Intrusion System | Intrusion System | 2018-02-22 13:37 | NULL | 1 | 0 | 3 | 0
14 | CCTV System | CCTV System | 2018-02-22 13:37 | NULL | 1 | 0 | 3 | 0
15 | MMS | MMS (Module Mounting Structure) | 2018-02-22 13:38 | NULL | 1 | 0 | 3 | 0
16 | UPS Distribution Box | UPS Distribution Box | 2018-04-05 10:54 | 2019-09-10 11:25 | 0 | 0 | 83 | 2183
17 | Annunciator | Annunciator | 2018-04-25 11:52 | NULL | 1 | 0 | 1 | 0
18 | Relay | Relay | 2018-04-25 11:59 | NULL | 1 | 0 | 79 | 0
19 | Stabilizer | Stabilizer | 2018-06-22 17:38 | 2019-08-27 14:30 | 1 | 0 | 1 | 2180
20 | Uninterrupted Power Supply | Uninterrupted Power Supply | 2018-06-22 17:39 | 2019-08-27 14:30 | 1 | 0 | 1 | 2180
21 | SCADA Panel | SCADA Panel | 2018-06-25 11:11 | 2018-06-25 11:12 | 0 | 0 | 1 | 1
22 | SCADA Panel | SCADA Panel | 2018-06-25 11:11 | 2020-09-19 14:46 | 0 | 0 | 1 | 2180
23 | Block MV Panel | Block MV Panel | 2019-02-04 19:08 | NULL | 1 | 0 | 66 | 0
24 | MCR_SwitchGear Panel | SwitchGear Panel at MCR | 2019-02-05 10:43 | NULL | 1 | 0 | 66 | 0
25 | ACDB | AC Distribution Box | 2019-02-05 11:02 | 2019-06-25 12:58 | 1 | 0 | 66 | 40
26 | Air Filter Unit | Air Filter Unit | 2019-02-05 11:05 | NULL | 1 | 0 | 66 | 0
27 | UPS | UPS | 2019-02-05 12:46 | 2020-09-21 12:48 | 1 | 0 | 66 | 2180
28 | Telecommunication System | Telecommunication System | 2019-02-11 20:08 | 2019-07-23 11:30 | 1 | 0 | 2109 | 2180
29 | RMU | RMU | 2019-02-13 17:36 | NULL | 1 | 0 | 2109 | 0
30 | Inverter Transformer | Ingeteam Transformer | 2019-02-13 22:04 | NULL | 1 | 0 | 2109 | 0
31 | MCS System | Module Cleaning System | 2019-02-14 12:48 | NULL | 1 | 0 | 66 | 0
32 | Electric Gate | Electric Gate | 2019-02-14 13:02 | NULL | 1 | 0 | 66 | 0
33 | Fence | Fence | 2019-02-14 13:03 | 2019-10-01 16:18 | 1 | 0 | 66 | 2183
34 | Earth Pit | Earth Pit | 2019-02-14 17:04 | NULL | 1 | 0 | 66 | 0
35 | Auxiliary Transformer | Auxiliary Transformer | 2019-02-15 12:57 | 2020-09-19 00:44 | 1 | 0 | 66 | 40
36 | PV Module | PV Module | 2019-02-15 14:32 | NULL | 1 | 0 | 66 | 0
37 | Batteries | Batteries | 2019-02-15 14:34 | NULL | 1 | 0 | 66 | 0
38 | Battery Charger | Battery Charger | 2019-02-15 15:34 | NULL | 1 | 0 | 66 | 0
39 | Air Conditioner | Air Conditioner | 2019-02-15 15:50 | NULL | 1 | 0 | 66 | 0
40 | Boundary Wall | Boundary Wall | 2019-02-15 15:52 | 2020-06-26 17:44 | 1 | 0 | 66 | 2180
41 | Lightning Arrestor | Lightning Arrestor | 2019-02-15 16:06 | 2019-09-30 12:59 | 1 | 0 | 66 | 2180
42 | PV Structure | PV Structure | 2019-02-15 16:14 | NULL | 1 | 0 | 66 | 0
43 | Road and Drain | Road and Drain | 2019-02-15 16:18 | NULL | 1 | 0 | 66 | 0
44 | ROBOT | Module cleaning ROBOT | 2019-03-09 21:25 | NULL | 1 | 0 | 2121 | 0
45 | AU Panel | Associated Unit Panel | 2019-06-25 13:01 | 2019-06-25 13:01 | 1 | 0 | 40 | 40
46 | Power Transformer | Power Transformer | 2019-06-26 15:12 | 0000-00-00 00:00:00 | 1 | 0 | 40 | 0
47 | UPS Battery | UPS Battery | 2019-07-22 17:00 | 2019-08-27 14:30 | 1 | 0 | 2178 | 2180
48 | Battery Charger Battery | Battery Charger Battery | 2019-07-22 17:00 | 0000-00-00 00:00:00 | 1 | 0 | 2178 | 0
49 | RO System | RO System | 2019-07-22 17:00 | 0000-00-00 00:00:00 | 1 | 0 | 2178 | 0
50 | Three Phase Induction Motor | Three Phase Induction Motor | 2019-07-22 17:00 | 0000-00-00 00:00:00 | 1 | 0 | 2178 | 0
51 | Switchyard | Switchyard | 2019-07-22 17:00 | 0000-00-00 00:00:00 | 1 | 0 | 2178 | 0
52 | Facility End Metering Point | Facility End Metering Point | 2019-07-22 17:00 | 0000-00-00 00:00:00 | 1 | 0 | 2178 | 0
53 | Procurer End Metering Point | Procurer End Metering Point | 2019-07-22 17:00 | 0000-00-00 00:00:00 | 1 | 0 | 2178 | 0
54 | NGRT | Neutral Ground Resistance Transformer | 2019-07-22 17:39 | NULL | 1 | 0 | 2180 | 0
55 | Soiling Monitoring Station | Soiling Monitoring Station | 2019-07-23 11:30 | NULL | 1 | 0 | 2180 | 0
56 | Fire Alarm System | Fire Alarm System | 2019-07-23 11:36 | 2020-09-19 14:47 | 1 | 0 | 2180 | 2180
57 | HVAC | Heating Ventilation and Air Conditioning | 2019-07-23 16:42 | 2019-07-31 10:53 | 1 | 0 | 2180 | 2180
58 | LVAC | LVAC | 2019-07-23 16:43 | 2019-07-23 16:43 | 1 | 0 | 2180 | 2180
59 | Control & Relay Panel | Control & Relay Panel | 2019-07-23 16:43 | NULL | 1 | 0 | 2180 | 0
60 | BUS PT | BUS PT | 2019-07-23 16:44 | NULL | 1 | 0 | 2180 | 0
61 | Diesel Generator | Diesel Generator | 2019-07-23 16:44 | NULL | 1 | 0 | 2180 | 0
62 | Power Plant Controller | Power Plant Controller | 2019-07-23 16:46 | NULL | 1 | 0 | 2180 | 0
63 | SCMS | SCMS | 2019-07-23 16:59 | NULL | 1 | 0 | 2180 | 0
64 | Disconnecting Circuit Breaker | Disconnecting Circuit Breaker | 2019-07-23 16:59 | NULL | 1 | 0 | 2180 | 0
65 | Automatic Voltage Regulator | Automatic Voltage Regulator | 2019-07-23 17:00 | NULL | 1 | 0 | 2180 | 0
66 | Fault Monitoring System | Fault Monitoring System | 2019-07-23 17:00 | NULL | 1 | 0 | 2180 | 0
67 | Earthing Transformer | Earthing Transformer | 2019-07-23 17:00 | NULL | 1 | 0 | 2180 | 0
68 | Capacitive Voltage Transformer | Capacitive Voltage Transformer | 2019-07-23 17:02 | 2019-07-23 17:08 | 1 | 0 | 2180 | 2180
69 | Transformer Monitoring System | Transformer Monitoring System | 2019-07-23 17:02 | NULL | 1 | 0 | 2180 | 0
70 | Fiber Optic Distribution Panel | Fiber Optic Distribution Panel | 2019-07-24 14:45 | 2019-07-24 14:45 | 1 | 0 | 40 | 40
71 | Current Transformer | Current Transformer | 2019-07-24 14:57 | NULL | 1 | 0 | 40 | 0
72 | Potential Transformer | Potential Transformer (Voltage Transformer) | 2019-07-24 14:58 | NULL | 1 | 0 | 40 | 0
73 | Distribution Board | Distribution Board | 2019-07-30 11:39 | NULL | 1 | 0 | 2180 | 0
74 | Isolator | Isolator | 2019-07-31 10:37 | NULL | 1 | 0 | 2183 | 0
75 | ACCB | AC Load Break Switch or AC Isolator | 2019-07-31 10:51 | NULL | 1 | 0 | 2180 | 0
76 | LTDB | Low Tension Distribution Box | 2019-07-31 10:52 | NULL | 1 | 0 | 2180 | 0
77 | Evacuation Transformer | Evacuation Transformer | 2019-07-31 10:52 | NULL | 1 | 0 | 2180 | 0
78 | DC SYSTEM | DC SYSTEM | 2019-07-31 13:28 | NULL | 1 | 0 | 2183 | 0
79 | Distributed Temperature System | Distributed Temperature System | 2019-07-31 15:22 | NULL | 1 | 0 | 2183 | 0
80 | UPS SCVS | UPS SCVS | 2019-07-31 16:00 | NULL | 1 | 0 | 2180 | 0
81 | PLC Panel | PLC Panel | 2019-08-01 15:26 | NULL | 1 | 0 | 2180 | 0
82 | DVR | Digital Video Recorder | 2019-08-01 15:26 | NULL | 1 | 0 | 2180 | 0
83 | VCB | Vacuum Circuit Breaker | 2019-08-01 15:30 | NULL | 1 | 0 | 2180 | 0
84 | LT Panel | LT Panel | 2019-08-06 14:15 | NULL | 1 | 0 | 2183 | 0
85 | NFPS | Nitrogen Fire Protection System | 2019-08-09 18:00 | NULL | 1 | 0 | 2180 | 0
86 | UPS DB | UPS DB | 2019-08-22 14:18 | NULL | 1 | 0 | 2180 | 0
87 | SS | Substation | 2019-08-24 10:33 | NULL | 1 | 0 | 2121 | 0
88 | Elevator | Elevator | 2019-08-27 12:41 | NULL | 1 | 0 | 2121 | 0
89 | Substation | Substation | 2019-08-28 12:02 | NULL | 1 | 0 | 2180 | 0
90 | Transformer Protection Panel Main 2 | Transformer Protection Panel Main 2 | 2019-09-04 12:31 | 2019-09-04 12:48 | 1 | 0 | 2183 | 2183
91 | Transformer Protection Panel Main 1 | Transformer Protection Panel Main 1 | 2019-09-04 12:48 | NULL | 0 | 0 | 2183 | 0
92 | Cable Feeder Panel | Cable Feeder Panel | 2019-09-04 13:05 | NULL | 1 | 0 | 2183 | 0
93 | Surge Arrestor | Surge Arrestor | 2019-09-04 14:23 | NULL | 1 | 0 | 2183 | 0
94 | Local Control Cubical (LCC) | Local Control Cubical (LCC) | 2019-09-04 15:23 | NULL | 1 | 0 | 2183 | 0
95 | APFC Panel | APFC Panel | 2019-09-04 16:33 | NULL | 1 | 0 | 2183 | 0
96 | MCR Switchgear panel | MCR Switchgear panel | 2019-09-04 16:47 | 2019-09-04 16:48 | 0 | 0 | 2183 | 2183
97 | PASS | Plant Accounting and Settlement System | 2019-09-05 12:49 | NULL | 1 | 0 | 2180 | 0
98 | Module Cleaning System | Module Cleaning System | 2019-09-06 11:35 | 2019-11-08 12:20 | 0 | 0 | 2183 | 2180
99 | Auxiliary Transformer Feeder | Auxiliary Transformer Feeder | 2019-09-11 14:28 | NULL | 1 | 0 | 2180 | 0
100 | RTCC Panel | RTCC Panel 1 | 2019-09-30 12:55 | 2021-02-03 09:51 | 1 | 1 | 2180 | 2212
101 | ACDB LT Panel | ACDB LT Panel | 2019-09-30 12:55 | NULL | 1 | 0 | 2180 | 0
102 | TVM Meter | TVM Meter | 2019-09-30 12:59 | NULL | 1 | 0 | 2180 | 0
103 | Capacitor Bank | Capacitor Bank | 2019-10-04 12:10 | NULL | 1 | 0 | 2180 | 0
104 | Fuse Box | Fuse Box | 2019-10-04 13:02 | NULL | 1 | 0 | 2180 | 0
105 | Soiling Monitoring Station. | Soiling monitoring system | 2019-10-06 11:30 | 2020-01-13 11:53 | 0 | 0 | 2121 | 2180
106 | MCR_UPS | MCR_UPS | 2019-10-06 23:17 | 2020-09-21 12:47 | 1 | 0 | 2180 | 2180
107 | General | General | 2019-10-09 12:48 | NULL | 1 | 0 | 2180 | 0
108 | Earthing System | Earthing System | 2019-10-09 18:29 | NULL | 1 | 0 | 2180 | 0
109 | MCR_Earthing System | MCR_Earthing System | 2019-10-09 18:31 | NULL | 1 | 0 | 2180 | 0
110 | Security System | Security System | 2019-10-10 12:38 | NULL | 1 | 0 | 2180 | 0
111 | Motorised Isolator | Motorised Isolator | 2019-10-14 16:10 | NULL | 1 | 0 | 2180 | 0
112 | Battery Cell | Battery Cell | 2019-10-16 14:59 | NULL | 1 | 0 | 2180 | 0
113 | COS Panel | COS Panel | 2019-10-18 15:50 | 2019-10-18 15:57 | 1 | 0 | 2180 | 2180
114 | Battery Bank | Battery Bank | 2019-10-24 12:40 | NULL | 1 | 0 | 2180 | 0
115 | Disturbance Fault Recorder Panel | Disturbance Fault Recorder Panel | 2019-11-13 17:24 | NULL | 1 | 0 | 2180 | 0
116 | Suntracker | Suntracker | 2019-11-18 13:09 | NULL | 1 | 0 | 2180 | 0
117 | Sumpump | Sumpump | 2019-11-18 13:10 | NULL | 1 | 0 | 2180 | 0
118 | Boosterpump | Boosterpump | 2019-11-18 13:10 | NULL | 0 | 0 | 2180 | 0
119 | Booster Pump | Booster Pump | 2019-11-18 14:14 | NULL | 1 | 0 | 2180 | 0
120 | Cable | Cable | 2019-11-18 15:38 | NULL | 1 | 0 | 2180 | 0
121 | Cable Protection Cubicle | Cable Protection Cubicle | 2019-11-18 15:41 | 2019-11-18 15:44 | 0 | 0 | 2180 | 2180
122 | Energizer | Energizer | 2019-11-21 11:32 | 2019-11-21 12:59 | 0 | 0 | 2180 | 2180
123 | Jet Pump | Jet Pump | 2019-11-21 11:38 | NULL | 1 | 0 | 2180 | 0
124 | MCR | MCR | 2019-11-28 16:25 | 2020-03-19 15:29 | 0 | 0 | 2180 | 2180
125 | Electric Fence | Electric Fence | 2019-11-28 16:52 | NULL | 1 | 0 | 2180 | 0
126 | Lighting DB | Lighting DB | 2019-12-10 14:17 | 2019-12-26 14:48 | 1 | 0 | 2180 | 40
127 | Lightning Mast | Lightning Mast | 2019-12-10 14:18 | NULL | 1 | 0 | 2180 | 0
128 | Lighting (Outdoor & Boundary) | Lighting (Outdoor & Boundary) | 2019-12-14 12:31 | NULL | 1 | 0 | 2180 | 0
129 | Electric Motor | Electric Motor | 2019-12-19 13:00 | NULL | 1 | 0 | 2180 | 0
130 | Switchgear Outgoing | Switchgear Outgoing | 2019-12-24 16:21 | NULL | 1 | 0 | 2180 | 0
131 | Switchgear VT | Switchgear VT | 2019-12-24 16:21 | NULL | 1 | 0 | 2180 | 0
132 | Capacitor bank feeder | Capacitor bank feeder | 2020-01-17 12:01 | NULL | 1 | 0 | 2121 | 0
133 | Capacitor bank and APFC Panel | Capacitor bank and APFC Panel | 2020-01-20 16:04 | NULL | 1 | 0 | 2121 | 0
134 | Exhaust Fan | Exhaust Fan | 2020-01-21 13:01 | NULL | 1 | 0 | 2180 | 0
135 | DCDB | DCDB | 2020-01-24 16:00 | NULL | 1 | 0 | 2180 | 0
136 | Auxiliary transformer SS | Auxiliary transformer SS | 2020-01-26 13:49 | NULL | 1 | 0 | 2121 | 0
137 | Switchyard Structure | Switchyard Structure | 2020-02-04 12:05 | NULL | 1 | 0 | 2180 | 0
138 | Pole Structure | Pole Structure | 2020-02-19 16:47 | NULL | 1 | 0 | 2180 | 0
139 | CVT | Constant Voltage Transformer | 2020-02-27 12:13 | NULL | 1 | 0 | 2180 | 0
140 | 48V battery charger | 48V battery charger | 2020-03-11 17:27 | NULL | 1 | 0 | 2121 | 0
141 | 110V battery charger | 110V battery charger | 2020-03-11 17:28 | NULL | 1 | 0 | 2121 | 0
142 | Fire Extinguisher Cylinder | Fire Extinguisher Cylinder | 2020-03-12 15:15 | 2020-03-12 15:15 | 1 | 0 | 2180 | 2180
143 | Tracker_NCU | Tracker_NCU | 2020-04-25 14:17 | NULL | 1 | 0 | 2180 | 0
144 | plant monitoring | plant monitoring | 2020-05-08 14:59 | NULL | 1 | 0 | 2121 | 0
145 | Auxiliary Panel | Auxiliary Panel | 2020-06-05 17:53 | NULL | 1 | 0 | 2180 | 0
146 | Network Monitoring System | Network Monitoring System | 2020-06-14 13:44 | 2020-06-27 10:12 | 0 | 0 | 2121 | 2121
147 | NAD_SS1 | NAD_SS1 | 2020-06-16 13:36 | NULL | 1 | 0 | 2121 | 0
148 | NAD_SS2 | NAD_SS2 | 2020-06-16 13:36 | 2020-06-16 13:36 | 1 | 0 | 2121 | 2121
149 | CSS Panel | CSS Panel | 2020-06-25 15:54 | NULL | 1 | 0 | 2180 | 0
150 | IT | IT | 2020-06-27 10:13 | NULL | 1 | 0 | 2121 | 0
151 | RTU Panel | RTU Panel | 2020-07-04 14:56 | 2020-07-04 14:58 | 1 | 0 | 2180 | 2180
152 | FOTE Panel | FOTE Panel | 2020-07-09 16:38 | NULL | 1 | 0 | 2180 | 0
153 | OLTC | On Load Tap Changer | 2020-07-10 18:01 | NULL | 1 | 0 | 2180 | 0
154 | Panels | Panels | 2020-07-29 17:57 | NULL | 1 | 0 | 2121 | 0
155 | NAD_Panels_SS1 | NAD_Panels_SS1 | 2020-07-29 18:47 | NULL | 1 | 0 | 40 | 0
156 | NAD_Panels_SS2 | NAD_Panels_SS2 | 2020-07-29 18:48 | NULL | 1 | 0 | 40 | 0
157 | SPY CAM | SPY CAM | 2020-08-05 18:03 | NULL | 1 | 0 | 2121 | 0
158 | Multimeter | Multimeter | 2020-09-02 14:02 | 2020-09-02 14:02 | 1 | 0 | 2121 | 2121
159 | Clamp on meter | Clamp on meter | 2020-09-02 14:03 | NULL | 1 | 0 | 2121 | 0
160 | Insulation Tester | Used to check insulation resistance value | 2020-09-09 18:15 | NULL | 1 | 0 | 2203 | 0
161 | Earth Resistance Tester | To check Earth Resistance value of Earth pits | 2020-09-09 18:33 | NULL | 1 | 0 | 2203 | 0
162 | Tools | Tools | 2020-09-09 19:54 | 2020-09-10 12:32 | 1 | 0 | 2203 | 2180
163 | PPE | Personal Protective Equipment | 2020-09-09 20:42 | 2020-09-10 12:30 | 1 | 0 | 2203 | 2180
164 | Safety Tools | Safety Tools | 2020-09-09 20:43 | 2020-09-10 12:32 | 1 | 0 | 2203 | 2180
165 | Android Tablet | Android Tablet | 2020-09-09 20:46 | 2020-09-10 12:31 | 1 | 0 | 2203 | 2180
166 | Consumables | Consumables | 2020-09-10 12:31 | NULL | 1 | 0 | 2180 | 0
167 | Negative Grounding Resistance | Negative Grounding Resistance | 2020-09-10 13:36 | NULL | 1 | 0 | 2180 | 0
168 | Inv Station Fire Alarm System | Inv Station Fire Alarm System | 2020-09-11 17:57 | NULL | 1 | 0 | 2180 | 0
169 | Inv Station Auxiliary Transformer | Inv Station Auxiliary Transformer | 2020-09-11 18:47 | NULL | 1 | 0 | 2180 | 0
170 | Auxiliary Transformer (not used) | Auxiliary Transformer | 2020-09-11 19:04 | 2020-09-19 00:43 | 0 | 0 | 2180 | 40
171 | Fire Alarm System(wrong) | Fire Alarm System | 2020-09-11 19:04 | 2020-09-19 14:46 | 0 | 0 | 2180 | 2180
172 | MCR UPS | MCR UPS | 2020-09-11 19:07 | 2020-09-21 12:47 | 0 | 0 | 2180 | 2180
173 | Inv Station UPS & Batteries | Inv Station UPS &amp; Batteries | 2020-09-11 19:08 | 2020-09-14 16:34 | 1 | 0 | 2180 | 2180
174 | MCR UPS & Batteries | MCR UPS & Batteries | 2020-09-11 19:08 | NULL | 1 | 0 | 2180 | 0
175 | Inv Station Lightning Arrestor | Inv Station Lightning Arrestor | 2020-09-14 16:37 | NULL | 1 | 0 | 2180 | 0
176 | MCR Control & Relay Panel | MCR Control & Relay Panel | 2020-09-14 16:41 | NULL | 1 | 0 | 2180 | 0
177 | MCR MV Panel | MCR MV Panel | 2020-09-14 16:45 | 2020-09-14 16:49 | 1 | 0 | 2180 | 2180
178 | MCR SCADA | MCR SCADA | 2020-09-14 17:09 | NULL | 1 | 0 | 2180 | 0
179 | Substation CB | Substation CB | 2020-09-14 17:28 | NULL | 1 | 0 | 2180 | 0
180 | PPC | Power Plant Controller | 2020-09-14 17:34 | 2020-09-16 17:13 | 0 | 0 | 2180 | 2180
181 | GHI_Radiation_Sensor | GHI Radiation Sensor | 2020-09-16 16:38 | 2020-09-16 16:39 | 1 | 0 | 2180 | 2180
182 | POA_Radiation_Sensor | POA Radiation Sensor | 2020-09-16 16:38 | 2020-09-16 16:39 | 1 | 0 | 2180 | 2180
183 | Water Reservoir | Water Reservoir | 2020-10-09 16:40 | NULL | 1 | 0 | 2180 | 0
184 | Substation Automation System | Substation Automation System | 2020-10-14 15:46 | NULL | 1 | 0 | 2180 | 0
185 | Wave Trap | Wave Trap | 2020-10-16 17:29 | NULL | 1 | 0 | 2180 | 0
186 | MCR Auxiliary Transformer | MCR Auxiliary Transformer | 2020-10-28 11:01 | NULL | 1 | 0 | 2180 | 0
187 | smallTool | smallTool | 2021-02-03 09:52 | 2021-02-03 09:52 | 1 | 1 | 2212 | 2212
188 | Transmission Line | Transmission Line | 2021-02-09 14:26 | NULL | 1 | 0 | 2466 | 0

## Businesses
id | name | email | contactNumber | contactPerson | website | location | secondContactNumber | secondEmail | type | latitude | longitude | address | city | state | country | zip | currency | notes | status | addedBy | addedAt | updatedBy | updatedAt
1 | HFE-HeadOffice | HFE@HFE@com | 9876543210 | Satyendra | https://hfe.com | Delhi |  |  | 1 | NULL | NULL | HFE | New Delhi | Delhi | India | 111111 | INR-IN |  | 1 | 3 | 2018-02-22 12:55 | 1 | 2018-06-04 15:44
2 | HFE | raghu@hfe.com | 9999999999 | Ragu |  | Mumbai |  |  | 2 | NULL | NULL | HFE-Mumbai | Mumbai | Maharashtra | India | 111111 | INR-IN |  | 1 | 3 | 2018-02-22 13:01 | 40 | 2019-11-19 17:28
3 | APSEB | SOmeone@APSEB.com | 1234567890 | Someone | http://apseb.com |  | 22222 |  | 3 | NULL | NULL | address | new city | South Caicos and East Caicos | Turks And Caicos Islands | 333333 | INR-IN |  | 1 | 3 | 2018-02-22 13:11 | 5 | 2018-06-08 17:12
8 | HCG | HCG@gmail.com | 66666666666 | karan | https://www.HCG.com |  | 7777777777 | HCG1@gmail.com | 4 | NULL | NULL | gk mall | Bengaluru | Karnataka | India | 11001 | USD | <p>HCG</p> | 0 | 1 | 2018-03-07 13:35 | 1 | 2018-03-19 17:08
9 | HCG | HCG1@gmail.com | 1121212122 | karan |  |  |  |  | 5 | NULL | NULL | Domluru | Bengaluru | Karnataka | India | 101010 | INR | <p>HCG</p> | 0 | 1 | 2018-03-07 17:50 | 1 | 2018-03-19 17:08
20 | Risen Energy | ponsekar@risenenergy.com | 9611333011 | ponsekar | https://www.risenenergy.com |  | 8657460000000 | ponsekar@risenenergy.com | 5 | NULL | NULL | Tashan industry zone,Meiline street,Ninghai-315609.?Ã¡ | Shunyi | Beijing | China | 315609 | CNY-CN |  | 1 | 1 | 2018-08-17 13:57 | 1 | 2018-08-17 15:00
21 | Trinity Touch | kaushikpal/trinitytouch@trinitytouch.com | 9900271006 | Kaushik Pal | https://www.trinitytouch.com |  | 911130000000 | works@trinitytouch.com | 6 | NULL | NULL | prithla-dudhpla Road,Dudhola,Palwal,121102,Haryana,India | Palwal | Haryana | India | 121102 | INR-IN |  | 1 | 1 | 2018-08-17 14:02 | 66 | 2019-02-04 11:01
22 | ABB India Ltd. | amol.ashtekar@in.abb.com | 9741351078 | Amol Ashtekar | https://www.abb.co.in |  | 8022948929 | amol.ashtekar@in.abb.com | 8 | NULL | NULL | Sy.no. 88/3-88/6 Basavanahalli Village,Kasabahobli,nelamangala,Bangalore | Bengaluru | Karnataka | India | 562123 | INR-IN |  | 1 | 1 | 2018-08-17 14:04 | 1 | 2018-08-17 14:04
23 | Shilchar | tjshah@shilchargroup.com | 9244481756 | T.J.Shah | https://www.Shilchargroup.com |  | 2652680466 | info@shilchargroup.com | 3 | NULL | NULL | Bil road ,Bil 391410, Vadodara,India | Vadodara | Gujarat | India | 391410 | INR-IN |  | 1 | 1 | 2018-08-17 14:07 | 1 | 2018-08-17 14:07
24 | HFE Generators | ashutoshbajaj@sterlinggeneratorrs.com | 8828430804 | AshutoshBajaj | https://www.sterlinggenerator.com |  | 912603000000 | silvassa@sterlinggenerators.com | 4 | NULL | NULL | Survey no.59,343/1,villageKala,Kherdikhanvel,silvassa | Mumbai | Maharashtra | India | 400043 | INR-IN |  | 1 | 1 | 2018-08-17 14:12 | 1 | 2018-08-17 14:12
25 | Load Control | rajkumart@loadcontrols.net | 9282130008 | Rajeshkumar | https://www.kalpaelectrikal.com |  | 8023303103 | sales@kalpaelectrikal.com | 5 | NULL | NULL | 149/25 Main,Industrial town,rajajinagar,Bangalore | Bengaluru | Karnataka | India | 560010 | INR-IN |  | 1 | 1 | 2018-08-17 14:14 | 1 | 2018-08-17 14:14
26 | RS Impex | mail@rsimpexindia.in | 9444274574 | Sundar | https://www.ipi.com.au |  | 61362291900 | info@visionpec.com.au | 2 | NULL | NULL | complex 1,16 mertonvale circuit,kingston,tasmania 7050,australia | tasmania | Western Australia | Australia | 705087 | USD-US |  | 1 | 1 | 2018-08-17 14:18 | 1 | 2018-08-17 14:37
27 | Consul Neowatt | consulsalesmas@consulneowatt.com | 9543914050 | Rajandren | https://www.consulneowatt.com |  | 9178110000000 | enquiry@consulneowatt.com | 8 | NULL | NULL | 102A, Electrical& Electronics industrial estate perungudi, Chennai | Chennai | Tamil Nadu | India | 600096 | INR-IN |  | 1 | 1 | 2018-08-17 14:20 | 1 | 2018-08-17 14:20
28 | UNI-INSTA | unicoblr@yahoo.com | 9341930867 | Anand | https://www.uni-insta.in |  | 918028000000 | uni-insta@dataone.in | 8 | NULL | NULL | 16A/19,Jyothi Building ,WEA ,ajmalkhan road,newdelhi | New Delhi | Delhi | India | 110005 | INR-IN |  | 1 | 1 | 2018-08-17 14:22 | 1 | 2018-08-17 14:22
29 | Softel Technologies | prashant@softeltech.in | 9773029129 | Prashant | https://www.softeltech.in | Mumbai | 919989000000 | info@softeltech.in | 1 | NULL | NULL | 401 Accord Commercial Comlex, Goregaon East, Mumbai 400063 | Mumbai | Maharashtra | India | 400063 | INR-IN |  | 1 | 1 | 2018-08-17 14:25 | 0 | NULL
30 | Hukseflux | neha@weather-india.com | 9650057969 | Neha Sharma | https://www.hukseflux.com |  | 911126000000 | info@weather-india.com | 7 | NULL | NULL | 22/grond floor /south ex plaza-/South Extension Part/Newdelhi | New Delhi | Delhi | India | 110049 | INR-IN |  | 1 | 1 | 2018-08-17 14:27 | 1 | 2018-08-17 14:27

## Facilities
id | name | description_del | spvId | customerId | ownerId | operatorId | isBlock | parentId | address | cityId | city | stateId | state | countryId | country | zipcode | latitude | longitude | createdBy | createdAt | updatedBy | updatedAt | status | photoId | description | timezone | startDate | endDate
45 | Hero Future Solar Plant 1000MW |  | 1 | 2 | 1 | 2 | 0 | 0 | Hero Future Solar Plant 1000MW | 32 | Dubai | 3391 | Dubai | 231 | United Arab Emirates | 111111 | 40.33 | -73.997 | 5 | 2022-12-22 16:29 | 2466 | 2023-01-07 13:59 | 1 | 0 | Hero Future Solar Plant 1000MW | Asia/Dubai | 2010-08-26 | 2020-08-27
46 | Softel Solar Plant 1500MW |  | 5 | 23 | 29 | 2 | 0 | 0 | Softel Solar Plant 1500MW PAARDE VALLEY,145 Portion 3. Way to Philips town (De Aar City Postal Code 7000) Northern cape, South Africa. | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 24.0767 | -30.5786 | 40 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW | Africa/Johannesburg | NULL | NULL
47 | Softel_Zone_1.1 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 24.0767 | -30.5854 | 67 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
72 | HFE_Block_1 |  | 1 | 2 | 1 | 2 | 1 | 45 | Road no 1 | 32 | Dubai | 3391 | Dubai | 231 | United Arab Emirates | 111111 | 40.731 | -73.997 | 2108 | NULL | 40 | NULL | 1 | 0 | its a block on roam 1 |  | NULL | NULL
73 | HFE_Block_2 |  | 1 | 2 | 1 | 2 | 1 | 45 | road 1 | 32 | Dubai | 3391 | Dubai | 231 | United Arab Emirates | 111111 | 40.731 | -73.997 | 40 | NULL | 2466 | NULL | 0 | 0 | road 1 |  | NULL | NULL
74 | HFE_Block_98 |  | 1 | 2 | 1 | 2 | 1 | 45 | road no. 7 | 32 | Dubai | 3391 | Dubai | 231 | United Arab Emirates | 111111 | 40.731 | -73.997 | 40 | NULL | 0 | NULL | 1 | 0 | road no 7 |  | NULL | NULL
75 | HFE_Block_3 |  | 1 | 2 | 1 | 2 | 1 | 45 | Road 1 | 32 | Dubai | 3391 | Dubai | 231 | United Arab Emirates | 111111 | 40.731 | -73.997 | 2109 | NULL | 0 | NULL | 1 | 0 | Block 3 |  | NULL | NULL
76 | HFE_Block_4 |  | 1 | 2 | 1 | 2 | 1 | 45 | Road 1 | 32 | Dubai | 3391 | Dubai | 231 | United Arab Emirates | 111111 | 40.731 | -73.997 | 2109 | NULL | 0 | NULL | 1 | 0 |  |  | NULL | NULL
77 | HFE_Block_5 |  | 1 | 2 | 1 | 2 | 1 | 45 | road no 1 | 32 | Dubai | 3391 | Dubai | 231 | United Arab Emirates | 111111 | 40.731 | -73.997 | 2109 | NULL | 0 | NULL | 1 | 0 |  |  | NULL | NULL
78 | HFE_Block_201 |  | 1 | 2 | 1 | 2 | 1 | 45 | Road 1 | 32 | Dubai | 3391 | Dubai | 231 | United Arab Emirates | 111111 | 40.731 | -73.997 | 2109 | NULL | 0 | NULL | 1 | 0 | Block 201 |  | NULL | NULL
79 | HFE_Block_6 |  | 1 | 2 | 1 | 2 | 1 | 45 | Road 1 | 32 | Dubai | 3391 | Dubai | 231 | United Arab Emirates | 111111 | 40.731 | -73.997 | 2109 | NULL | 0 | NULL | 1 | 0 | Block 5 |  | NULL | NULL
330 | Softel_Zone_1.2 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Solar Capital De Aar 3 |  | NULL | NULL
331 | Softel_Zone_1.3 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
332 | Softel_Zone_1.4 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
333 | Softel_Zone_1.5 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
334 | Softel_Zone_1.6 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
335 | Softel_Zone_2.1 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
336 | Softel_Zone_2.2 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
337 | Softel_Zone_2.3 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
338 | Softel_Zone_2.4 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
339 | Softel_Zone_2.5 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
340 | Softel_Zone_2.6 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
341 | Softel_Zone_3.1 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
342 | Softel_Zone_3.2 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
343 | Softel_Zone_3.3 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
344 | Softel_Zone_3.4 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
345 | Softel_Zone_3.5 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
346 | Softel_Zone_3.6 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
347 | Softel_Zone_4.1 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
348 | Softel_Zone_4.2 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
349 | Softel_Zone_4.3 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
350 | Softel_Zone_4.4 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
351 | Softel_Zone_4.5 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
352 | Softel_Zone_4.6 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
353 | Softel_Zone_5.1 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
354 | Softel_Zone_5.2 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
355 | Softel_Zone_5.3 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
356 | Softel_Zone_5.4 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
357 | Softel_Zone_5.5 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
358 | Softel_Zone_5.6 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
359 | Softel_Zone_6.1 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
360 | Softel_Zone_6.2 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
361 | Softel_Zone_6.3 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
362 | Softel_Zone_6.4 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
363 | Softel_Zone_6.5 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
364 | Softel_Zone_6.6 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
365 | Softel_Zone_7.1 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
366 | Softel_Zone_7.2 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
367 | Softel_Zone_7.3 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
368 | Softel_Zone_7.4 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
369 | Softel_Zone_7.5 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
370 | Softel_Zone_7.6 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
371 | Softel_Zone_8.1 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
372 | Softel_Zone_8.2 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
373 | Softel_Zone_8.3 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
374 | Softel_Zone_8.4 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
375 | Softel_Zone_8.5 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
376 | Softel_Zone_8.6 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
377 | Softel_Zone_8.7 |  | 5 | 23 | 29 | 2 | 1 | 46 | Softel Solar Plant 1500MW | 131136 | Johannesburg | 936 | Gauteng | 204 | South Africa | 7000 | 40.731 | -73.997 | 2182 | NULL | 2183 | NULL | 1 | 0 | Softel Solar Plant 1500MW |  | NULL | NULL
380 | Hero Wind Plant 500MW |  | 2 | 26 | 1 | 2 | 0 | 0 | Hero Wind Plant 500MW | 133986 | Solapur | 4008 | Maharashtra | 101 | India | 413218 | 40.731 | -73.997 | 2178 | NULL | 2180 | NULL | 1 | 0 | Hero Wind Plant 500MW | Asia/Kolkata | NULL | NULL
381 | HERO_WIND_WTG_1 |  | 2 | 26 | 1 | 2 | 1 | 380 | Hero Wind Plant 500MW | 133986 | Solapur | 4008 | Maharashtra | 101 | India | 413218 | 40.731 | -73.997 | 2178 | NULL | 2 | 2023-06-14 09:06 | 1 | 0 | Block 1 in Risen Wind Haresh | Asia/Kolkata | NULL | NULL
382 | HERO_WIND_WTG_2 |  | 2 | 26 | 1 | 2 | 1 | 380 | Hero Wind Plant 500MW | 133986 | Solapur | 4008 | Maharashtra | 101 | India | 413218 | 40.731 | -73.997 | 2178 | NULL | 2180 | NULL | 1 | 0 | Hero Wind Plant 500MW | Asia/Kolkata | NULL | NULL
383 | HERO_WIND_WTG_3 |  | 2 | 26 | 1 | 2 | 1 | 380 | Hero Wind Plant 500MW | 133986 | Solapur | 4008 | Maharashtra | 101 | India | 413218 | 40.731 | -73.997 | 2178 | NULL | 2180 | NULL | 1 | 0 | Hero Wind Plant 500MW | Asia/Kolkata | NULL | NULL
384 | HERO_WIND_WTG_4 |  | 2 | 26 | 1 | 2 | 1 | 380 | Hero Wind Plant 500MW | 133986 | Solapur | 4008 | Maharashtra | 101 | India | 413218 | 40.731 | -73.997 | 2178 | NULL | 2180 | NULL | 1 | 0 | Hero Wind Plant 500MW | Asia/Kolkata | NULL | NULL
385 | HERO_WIND_WTG_5 |  | 2 | 26 | 1 | 2 | 1 | 380 | Hero Wind Plant 500MW | 133986 | Solapur | 4008 | Maharashtra | 101 | India | 413218 | 40.731 | -73.997 | 2178 | NULL | 2180 | NULL | 1 | 0 | Hero Wind Plant 500MW | Asia/Kolkata | NULL | NULL
395 | new facility 01 haresh title |  | 2 | 26 | 29 | 23 | 0 | 0 | address new facility 01 haresh adderss | 131994 | Goregaon | 4008 | Maharashtra | 101 | India | 432567 | 0 | 0 | 2 | 2023-06-27 02:02 | 0 | NULL | 0 | 0 | description for new facility 01 description | default_hardcoded | 2023-06-27 02:02 | 2023-06-27 02:02
1736 | Risen Energy Wind Plant 1500MW |  | 4 | 29 | 20 | 20 | 0 | 0 | Ambach Paria, Vapi-396145, Gujarat | 134326 | Vapi | 4030 | Gujarat | 101 | India | 403001 | 23.0225 | 72.5714 | 2 | 2023-04-03 01:19 | 2 | 2023-05-17 08:13 | 1 | 0 | This is a solar plant owned and operated by Risen Energies | GMT+0530 | 2023-04-03 01:19 | 2023-04-03 01:19
1737 | Risen Energy Solar Plant 1500MW |  | 3 | 29 | 20 | 20 | 0 | 0 | Panaji-403001, North Goa, Goa | 133342 | Panaji | 4009 | Goa | 101 | India | 403001 | 15.4909 | 73.8278 | 2 | 2023-04-05 10:23 | 0 | NULL | 1 | 0 | This is a solar plant owned and operated by Risen Energies | GMT+0530 | 2023-04-05 10:23 | 2023-04-05 10:23
1738 | RISEN_WIND_BLOCK_1 |  | 4 | 29 | 20 | 20 | 1 | 1736 | Risen Energy Wind Plant 1500MW | 134326 | Vapi | 4030 | Gujarat | 101 | India | 403001 | 23.0225 | 72.5714 | 2 | 2023-05-17 07:46 | 2 | 2023-06-14 09:04 | 1 | 0 | Block 1 in Risen Wind Haresh | GMT+0530 | NULL | NULL
1739 | RISEN_WIND_BLOCK_2 |  | 4 | 29 | 20 | 20 | 1 | 1736 | Risen Energy Wind Plant 1500MW | 134326 | Vapi | 4030 | Gujarat | 101 | India | 403001 | 23.0225 | 72.5714 | 2 | 2023-06-28 08:50 | 0 | NULL | 1 | 0 | Block 2 in Risen | GMT+0530 | NULL | NULL
1740 | RISEN_WIND_BLOCK_3 |  | 4 | 29 | 20 | 20 | 1 | 1736 | Risen Energy Wind Plant 1500MW | 134326 | Vapi | 4030 | Gujarat | 101 | India | 403001 | 23.0225 | 72.5714 | 0 | NULL | 0 | NULL | 1 | 0 | Block 3 in Risen Wind | GMT+0530 | NULL | NULL
1741 | RISEN_WIND_BLOCK_4 |  | 4 | 29 | 20 | 20 | 1 | 1736 | Risen Energy Wind Plant 1500MW | 134326 | Vapi | 4030 | Gujarat | 101 | India | 403001 | 23.0225 | 72.5714 | 2 | 2023-06-28 09:52 | 0 | NULL | 1 | 0 | Block 4 in Risen | GMT+0530 | NULL | NULL
1742 | RISEN_WIND_BLOCK_5 |  | 4 | 29 | 20 | 20 | 1 | 1736 | Risen Energy Wind Plant 1500MW | 134326 | Vapi | 4030 | Gujarat | 101 | India | 403001 | 23.0225 | 72.5714 | 2 | 2023-06-28 09:54 | 0 | NULL | 1 | 0 | Block 5 in Risen Wind | GMT+0530 | NULL | NULL
1743 | RISEN_WIND_BLOCK_6 |  | 4 | 29 | 20 | 20 | 1 | 1736 | Risen Energy Wind Plant 1500MW | 134326 | Vapi | 4030 | Gujarat | 101 | India | 403001 | 23.0225 | 72.5714 | 2 | 2023-06-28 09:54 | 0 | NULL | 1 | 0 | Block 6 in Risen Wind | GMT+0530 | NULL | NULL
1744 | RISEN_SOLAR_BLOCK_1 |  | 3 | 29 | 20 | 20 | 1 | 1737 | Risen Energy Solar Plant 1500MW | 133342 | Panaji | 4009 | Goa | 101 | India | 403001 | 15.4909 | 73.8278 | 2 | 2023-06-28 09:55 | 0 | NULL | 1 | 0 | Block 1 in Risen Solar | GMT+0530 | NULL | NULL
1745 | RISEN_SOLAR_BLOCK_2 |  | 3 | 29 | 20 | 20 | 1 | 1737 | Risen Energy Solar Plant 1500MW | 133342 | Panaji | 4009 | Goa | 101 | India | 403001 | 15.4909 | 73.8278 | 2 | 2023-06-28 09:55 | 0 | NULL | 1 | 0 | Block 2 in Risen Solar | GMT+0530 | NULL | NULL
1746 | RISEN_SOLAR_BLOCK_3 |  | 3 | 29 | 20 | 20 | 1 | 1737 | Risen Energy Solar Plant 1500MW | 133342 | Panaji | 4009 | Goa | 101 | India | 403001 | 15.4909 | 73.8278 | 2 | 2023-06-28 09:55 | 0 | NULL | 1 | 0 | Block 3 in Risen Solar | GMT+0530 | NULL | NULL
1747 | RISEN_SOLAR_BLOCK_4 |  | 3 | 29 | 20 | 20 | 1 | 1737 | Risen Energy Solar Plant 1500MW | 133342 | Panaji | 4009 | Goa | 101 | India | 403001 | 15.4909 | 73.8278 | 2 | 2023-06-28 09:55 | 0 | NULL | 1 | 0 | Block 4 in Risen Solar | GMT+0530 | NULL | NULL
1748 | RISEN_SOLAR_BLOCK_5 |  | 3 | 29 | 20 | 20 | 1 | 1737 | Risen Energy Solar Plant 1500MW | 133342 | Panaji | 4009 | Goa | 101 | India | 403001 | 15.4909 | 73.8278 | 2 | 2023-06-28 09:55 | 0 | NULL | 1 | 0 | Block 5 in Risen Solar | GMT+0530 | NULL | NULL
1749 | RISEN_SOLAR_BLOCK_6 |  | 3 | 29 | 20 | 20 | 1 | 1737 | Risen Energy Solar Plant 1500MW | 133342 | Panaji | 4009 | Goa | 101 | India | 403001 | 15.4909 | 73.8278 | 2 | 2023-06-28 09:55 | 0 | NULL | 1 | 0 | Block 6 in Risen Solar | GMT+0530 | NULL | NULL

## BusinessTypes
id | name | description | addedAt | updatedAt | addedBy | updatedBy | status
1 | Owner | Owner of the Assest or Facility | 2018-02-22 12:54 | 2018-06-08 16:37 | 1 | 3 | 1
2 | Operator | Operator of the Power Plant | 2018-02-22 12:56 | 2018-02-22 12:56 | 1 | 3 | 1
3 | Customer | Customer of the Power Plant | 2023-01-22 12:56 | NULL | 1 | 0 | 1
4 | Vendor | Vendor | 2023-01-22 12:56 | NULL | 1 | 0 | 1
5 | Supplier | Material Supplier | 2023-01-22 12:57 | NULL | 1 | 0 | 1
6 | Stockist | Material Stockist | 2023-01-22 12:57 | NULL | 1 | 0 | 1
7 | Stack holder | Stack holder | 2023-01-22 14:37 | NULL | 1 | 0 | 1
8 | Manufacturer | Manufacturer | 2023-01-20 16:20 | NULL | 1 | 0 | 1

## AssetStatus
id | name | description | addedAt | updatedAt | status | addedBy | updatedBy
1 | In Operation | In Operation | 0000-00-00 00:00:00 | 0000-00-00 00:00:00 | 1 | 3 | 1
2 | In Stock | In Stock | 0000-00-00 00:00:00 | NULL | 1 | 3 | NULL
3 | Faulty Kept in Store | Faulty Kept in Store | 0000-00-00 00:00:00 | NULL | 1 | 3 | NULL
4 | Under Repair | Under Repair | 0000-00-00 00:00:00 | NULL | 1 | 3 | NULL

## AssetTypes
id | name | description | addedAt | updatedAt | status | addedBy | updatedBy
1 | Tools and Tackles | TT - Tools and Tackles | NULL | 2018-02-22 13:40 | 1 | 3 | 0
2 | Spare | S - Spare | NULL | 2018-04-06 14:48 | 1 | 3 | 1
3 | Consumables | C- Consumables | NULL | 2018-02-22 13:41 | 1 | 3 | 0
4 | Equipment and Machinery | E - Equipment and Machinery | NULL | 2018-02-22 13:41 | 1 | 3 | 0
5 | Main Inventry | MI-Main Inventry | NULL | 2018-04-06 14:48 | 1 | 3 | 1
6 | Special Tools | This is Special Tool | 0000-00-00 00:00:00 | NULL | 1 | 77 | 0
7 | 0 | 0 | 0000-00-00 00:00:00 | 2018-06-25 11:15 | 0 | 1 | 1
8 | 1 | 1 | 0000-00-00 00:00:00 | 2018-06-22 17:45 | 0 | 5 | 1
9 | test | test | NULL | 2018-06-22 17:47 | 0 | 1 | 1
10 | 12 | 12 | NULL | 2018-06-25 11:16 | 0 | 1 | 1
11 | test1 | test | NULL | 2018-06-25 11:16 | 0 | 1 | 0
12 | test type 1 | test type 1 | 2019-04-13 11:30 | 2019-10-03 11:37 | 0 | 58 | 40
13 | Measurement instrument | Measurement instrument | NULL | 2020-09-02 14:01 | 1 | 2121 | 0
14 | Safety PPE | Personal protective equipment | 2020-09-09 16:18 | NULL | 1 | 2203 | 0
15 | Andriod Tablet | TAB for CMMS usage during maintenance at field | 2020-09-09 21:59 | NULL | 1 | 2203 | 0
16 | Safety Tools | Safety Tools | 2020-09-09 22:27 | 2020-09-10 12:39 | 1 | 2203 | 2180

## Currencies
id | code | name
1 | AFA | Afghan Afghani
2 | ALL | Albanian Lek
3 | DZD | Algerian Dinar
4 | AOA | Angolan Kwanza
5 | ARS | Argentine Peso
6 | AMD | Armenian Dram
7 | AWG | Aruban Florin
8 | AUD | Australian Dollar
9 | AZN | Azerbaijani Manat
10 | BSD | Bahamian Dollar
11 | BHD | Bahraini Dinar
12 | BDT | Bangladeshi Taka
13 | BBD | Barbadian Dollar
14 | BYR | Belarusian Ruble
15 | BEF | Belgian Franc
16 | BZD | Belize Dollar
17 | BMD | Bermudan Dollar
18 | BTN | Bhutanese Ngultrum
19 | BTC | Bitcoin
20 | BOB | Bolivian Boliviano
21 | BAM | Bosnia-Herzegovina Convertible Mark
22 | BWP | Botswanan Pula
23 | BRL | Brazilian Real
24 | GBP | British Pound Sterling
25 | BND | Brunei Dollar
26 | BGN | Bulgarian Lev
27 | BIF | Burundian Franc
28 | KHR | Cambodian Riel
29 | CAD | Canadian Dollar
30 | CVE | Cape Verdean Escudo
31 | KYD | Cayman Islands Dollar
32 | XOF | CFA Franc BCEAO
33 | XAF | CFA Franc BEAC
34 | XPF | CFP Franc
35 | CLP | Chilean Peso
36 | CNY | Chinese Yuan
37 | COP | Colombian Peso
38 | KMF | Comorian Franc
39 | CDF | Congolese Franc
40 | CRC | Costa Rican ColÃƒÂ³n
41 | HRK | Croatian Kuna
42 | CUC | Cuban Convertible Peso
43 | CZK | Czech Republic Koruna
44 | DKK | Danish Krone
45 | DJF | Djiboutian Franc
46 | DOP | Dominican Peso
47 | XCD | East Caribbean Dollar
48 | EGP | Egyptian Pound
49 | ERN | Eritrean Nakfa
50 | EEK | Estonian Kroon
51 | ETB | Ethiopian Birr
52 | EUR | Euro
53 | FKP | Falkland Islands Pound
54 | FJD | Fijian Dollar
55 | GMD | Gambian Dalasi
56 | GEL | Georgian Lari
57 | DEM | German Mark
58 | GHS | Ghanaian Cedi
59 | GIP | Gibraltar Pound
60 | GRD | Greek Drachma
61 | GTQ | Guatemalan Quetzal
62 | GNF | Guinean Franc
63 | GYD | Guyanaese Dollar
64 | HTG | Haitian Gourde
65 | HNL | Honduran Lempira
66 | HKD | Hong Kong Dollar
67 | HUF | Hungarian Forint
68 | ISK | Icelandic KrÃƒÂ³na
69 | INR | Indian Rupee
70 | IDR | Indonesian Rupiah
71 | IRR | Iranian Rial
72 | IQD | Iraqi Dinar
73 | ILS | Israeli New Sheqel
74 | ITL | Italian Lira
75 | JMD | Jamaican Dollar
76 | JPY | Japanese Yen
77 | JOD | Jordanian Dinar
78 | KZT | Kazakhstani Tenge
79 | KES | Kenyan Shilling
80 | KWD | Kuwaiti Dinar
81 | KGS | Kyrgystani Som
82 | LAK | Laotian Kip
83 | LVL | Latvian Lats
84 | LBP | Lebanese Pound
85 | LSL | Lesotho Loti
86 | LRD | Liberian Dollar
87 | LYD | Libyan Dinar
88 | LTL | Lithuanian Litas
89 | MOP | Macanese Pataca
90 | MKD | Macedonian Denar
91 | MGA | Malagasy Ariary
92 | MWK | Malawian Kwacha
93 | MYR | Malaysian Ringgit
94 | MVR | Maldivian Rufiyaa
95 | MRO | Mauritanian Ouguiya
96 | MUR | Mauritian Rupee
97 | MXN | Mexican Peso
98 | MDL | Moldovan Leu
99 | MNT | Mongolian Tugrik
100 | MAD | Moroccan Dirham
101 | MZM | Mozambican Metical
102 | MMK | Myanmar Kyat
103 | NAD | Namibian Dollar
104 | NPR | Nepalese Rupee
105 | ANG | Netherlands Antillean Guilder
106 | TWD | New Taiwan Dollar
107 | NZD | New Zealand Dollar
108 | NIO | Nicaraguan CÃƒÂ³rdoba
109 | NGN | Nigerian Naira
110 | KPW | North Korean Won
111 | NOK | Norwegian Krone
112 | OMR | Omani Rial
113 | PKR | Pakistani Rupee
114 | PAB | Panamanian Balboa
115 | PGK | Papua New Guinean Kina
116 | PYG | Paraguayan Guarani
117 | PEN | Peruvian Nuevo Sol
118 | PHP | Philippine Peso
119 | PLN | Polish Zloty
120 | QAR | Qatari Rial
121 | RON | Romanian Leu
122 | RUB | Russian Ruble
123 | RWF | Rwandan Franc
124 | SVC | Salvadoran ColÃƒÂ³n
125 | WST | Samoan Tala
126 | SAR | Saudi Riyal
127 | RSD | Serbian Dinar
128 | SCR | Seychellois Rupee
129 | SLL | Sierra Leonean Leone
130 | SGD | Singapore Dollar
131 | SKK | Slovak Koruna
132 | SBD | Solomon Islands Dollar
133 | SOS | Somali Shilling
134 | ZAR | South African Rand
135 | KRW | South Korean Won
136 | XDR | Special Drawing Rights
137 | LKR | Sri Lankan Rupee
138 | SHP | St. Helena Pound
139 | SDG | Sudanese Pound
140 | SRD | Surinamese Dollar
141 | SZL | Swazi Lilangeni
142 | SEK | Swedish Krona
143 | CHF | Swiss Franc
144 | SYP | Syrian Pound
145 | STD | SÃ£o TomÃ© and PrÃ­ncipe Dobra
146 | TJS | Tajikistani Somoni
147 | TZS | Tanzanian Shilling
148 | THB | Thai Baht
149 | TOP | Tongan pa'anga
150 | TTD | Trinidad & Tobago Dollar
151 | TND | Tunisian Dinar
152 | TRY | Turkish Lira
153 | TMT | Turkmenistani Manat
154 | UGX | Ugandan Shilling
155 | UAH | Ukrainian Hryvnia
156 | AED | United Arab Emirates Dirham
157 | UYU | Uruguayan Peso
158 | USD | US Dollar
159 | UZS | Uzbekistan Som
160 | VUV | Vanuatu Vatu
161 | VEF | Venezuelan BolÃƒÂ­var
162 | VND | Vietnamese Dong
163 | YER | Yemeni Rial
164 | ZMK | Zambian Kwacha

## WarrantyType
id | name | status
1 | Basic | 1
2 | Comprehensive | 1
3 | Out of Warranty | 1
4 | In Warranty | 1

## WarrantyUsageTerm
id | name | status
1 | Duration | 1
2 | Meter | 1
3 | Earlier of duration or meter | 1
4 | Process Completion | 1