## Sheet1
Material | Material Description | Plant | Name 1 | Base Unit of Measure | Unrestricted | Value Unrestricted
S031702001 | MC 4 Connector 1000 V 30 A- 6 sqmm | 4081 | Clean Solar Power (Bellary) | PAA | 0 | 0
S031901001 | Y connector Branch 1000V 30A | 4081 | Clean Solar Power (Bellary) | PAA | 0 | 0
S031901001 | Y connector Branch 1000V 30A | 4081 | Clean Solar Power (Bellary) | PAA | 0 | 0
S041902001 | SMU 16 CH 1 BOX MODEL_STATCON | 4081 | Clean Solar Power (Bellary) | EA | 0 | 0
S043501001 | SHUNT CARD WITH BERGE PIN CONN. MALE | 4081 | Clean Solar Power (Bellary) | EA | 2 | 35282
S043501002 | SHUNT CARD WITH FLAT CABLE CONN. MALE | 4081 | Clean Solar Power (Bellary) | EA | 0 | 0
S043601001 | COMM. CARD WITH BERGE PIN CONN. FEMALE | 4081 | Clean Solar Power (Bellary) | EA | 2 | 20012.8
S043601002 | COMM. CARD WITH FLAT CABLE CONN. MALE | 4081 | Clean Solar Power (Bellary) | EA | 3 | 15797.25
S043701001 | VOLTAGE SENSE CARD | 4081 | Clean Solar Power (Bellary) | EA | 1 | 1362.9
S043801001 | DC-DC POWER SUPPLY CARD | 4081 | Clean Solar Power (Bellary) | EA | 1 | 2415.46
S063103001 | Round Bellow Cover-POLYESTER FIBER | 4081 | Clean Solar Power (Bellary) | EA | 0 | 0
S073306001 | Fuse for PCB for Tilt sensor 12V | 4081 | Clean Solar Power (Bellary) | NOS | 20 | 542.8
S073307001 | MSAT Fuse for PCB for Actuator supply | 4081 | Clean Solar Power (Bellary) | NOS | 20 | 944
S073308001 | Glass FUSE, For Relay module | 4081 | Clean Solar Power (Bellary) | NOS | 20 | 2596
S073310001 | Antenna | 4081 | Clean Solar Power (Bellary) | NOS | 5 | 6106.5
S073311001 | "Antenna Extension cable | 4081 | Clean Solar Power (Bellary) | NOS | 5 | 31700.7
S073319001 | RTC | 4081 | Clean Solar Power (Bellary) | NOS | 2 | 519.2
S073601001 | PICKIT™ 3 IN-CIRCUIT DEBUGGER | 4081 | Clean Solar Power (Bellary) | EA | 1 | 4363.64
S073602001 | Zigbee (XBee/XBee-PRO S2C 802.15.4) | 4081 | Clean Solar Power (Bellary) | EA | 5 | 15871
S073603001 | Xbee Explorer with USB to Mini USB cable | 4081 | Clean Solar Power (Bellary) | EA | 1 | 1652
S073604001 | Victron Energy VE.Direct toUSB interface | 4081 | Clean Solar Power (Bellary) | EA | 1 | 4590.2
S102202002 | Ground Fault Fuse 5A 1500VDC 100KA | 4081 | Clean Solar Power (Bellary) | EA | 0 | 0
S103701001 | Cooling fan for Transformer | 4081 | Clean Solar Power (Bellary) | EA | 0 | 0
S104802001 | Control Card for EBM Papst Fan | 4081 | Clean Solar Power (Bellary) | EA | 1 | 29401.66
S122107003 | 11kV 2000A Schneider IDV HVX-X | 4081 | Clean Solar Power (Bellary) | NOS | 1 | 386450
S171501001 | String Cable 1C 6sqmm - Outer Shealth B | 4081 | Clean Solar Power (Bellary) | M | 839 | 49874.06
S171502001 | String Cable 1C 4sqmm - Outer Shealth B | 4081 | Clean Solar Power (Bellary) | M | 2000 | 86895.2
S221703001 | 4C X 35 sqmm 1.1KV 2XFY | 4081 | Clean Solar Power (Bellary) | M | 0 | 0
S242401001 | 110KV Universal LA Clamp for Panther | 4081 | Clean Solar Power (Bellary) | EA | 9 | 3468.91
S242407002 | 3C X 185 Sqmm, 11 KV End TerminationKits | 4081 | Clean Solar Power (Bellary) | EA | 1 | 5603.82
S242408002 | 1C X 630 Sqmm, 11 KVEnd TerminationKits | 4081 | Clean Solar Power (Bellary) | EA | 1 | 2948.82
S242414002 | 1C X 630 Sqmm,11kVStraighthroughJoints | 4081 | Clean Solar Power (Bellary) | EA | 1 | 11057.78
S242416002 | 3C X 400 Sqmm, 11 KV Boot Kits | 4081 | Clean Solar Power (Bellary) | EA | 1 | 35636
S242418002 | 3C X 185 Sqmm, 11 KV Boot Kits | 4081 | Clean Solar Power (Bellary) | EA | 2 | 71272
S242501001 | 110KV PT Universal clamp for Panther | 4081 | Clean Solar Power (Bellary) | EA | 9 | 5430.91
S242502001 | 110KV PT Universal clamp for Drake | 4081 | Clean Solar Power (Bellary) | EA | 3 | 3363
S242601001 | SF6 CB 800A,110KV,40KA Clamp for Panther | 4081 | Clean Solar Power (Bellary) | EA | 12 | 4625.21
S242701001 | 800A,110KV,40KA CT Clamp for Panther | 4081 | Clean Solar Power (Bellary) | EA | 12 | 7083.72
S243901001 | 800A,110KV,40KA Isolator Clamp for Panth | 4081 | Clean Solar Power (Bellary) | EA | 12 | 4625.21
S244201001 | 800A,110KV,40KA PTR Clamp for Panther | 4081 | Clean Solar Power (Bellary) | EA | 6 | 3620.61
S244402001 | 800A,110KV,31KA T Lynx to panther | 4081 | Clean Solar Power (Bellary) | EA | 12 | 4166.73
S372313006 | Micom P111 | 4081 | Clean Solar Power (Bellary) | EA | 1 | 21043.58
S372314006 | Micom P127 | 4081 | Clean Solar Power (Bellary) | EA | 1 | 89401.4
S391801004 | FAN MODULE | 4081 | Clean Solar Power (Bellary) | EA | 0 | 0
S391801005 | PCBA VSE1 | 4081 | Clean Solar Power (Bellary) | EA | 1 | 245002.82
S391801006 | POWER SUPPLY AC/DC 100-240V/48V 5A | 4081 | Clean Solar Power (Bellary) | EA | 1 | 37302.57
S391801007 | POWER SUPPLY AC/DC 100-240V/24V 10A | 4081 | Clean Solar Power (Bellary) | EA | 1 | 25743
S391801011 | ASSY PCBA FCB | 4081 | Clean Solar Power (Bellary) | EA | 0 | 0
S391801012 | CIRCUIT BREAKER AC | 4081 | Clean Solar Power (Bellary) | EA | 0 | 0
S391801024 | LIGHTNING ARRESTOR DG M YPV | 4081 | Clean Solar Power (Bellary) | EA | 2 | 53690.6
S391801029 | FUSE-NH1250A/690VAC AR | 4081 | Clean Solar Power (Bellary) | EA | 1 | 27224.43
S391801030 | FUSE 160A/500V GL/GG NH00 | 4081 | Clean Solar Power (Bellary) | EA | 3 | 4879.01
S391802002 | AC BREAKER | 4081 | Clean Solar Power (Bellary) | EA | 0 | 0
S391803002 | Protection fuses 1A,1000VDC | 4081 | Clean Solar Power (Bellary) | EA | 3 | 1604.51
S391804002 | Fuse 5A,1000VDC, 10 kA | 4081 | Clean Solar Power (Bellary) | EA | 0 | 0
S391805002 | Fuse 20A,1000VDC, 50 kA | 4081 | Clean Solar Power (Bellary) | EA | 3 | 1604.51
S391808002 | AC SURGE PROTECTER | 4081 | Clean Solar Power (Bellary) | EA | 2 | 133566.87
S391809002 | SURGE PROTECTER DV MOD 255 | 4081 | Clean Solar Power (Bellary) | EA | 6 | 470395.06
S391810002 | IGBT Fan Control Circuit | 4081 | Clean Solar Power (Bellary) | EA | 11 | 342955.26
S391811002 | IGBT Controller Card | 4081 | Clean Solar Power (Bellary) | EA | 2 | 114170.9
S391812002 | SMPS 24 V | 4081 | Clean Solar Power (Bellary) | EA | 1 | 13461.48
S391813002 | SMPS 48 V | 4081 | Clean Solar Power (Bellary) | EA | 1 | 30028.26
S391814002 | DISPLAY UNIT | 4081 | Clean Solar Power (Bellary) | EA | 2 | 66453.2
S391815002 | IGBT PAIRED MOD IGBT 4P 600A/1200V CM600 | 4081 | Clean Solar Power (Bellary) | EA | 1 | 94400
S391816002 | Circuit breaker PV 1200VDC-10A-4-Pole | 4081 | Clean Solar Power (Bellary) | EA | 1 | 93609.22
S391818001 | IGBT GateDriver boards | 4081 | Clean Solar Power (Bellary) | EA | 0 | 0
S391821001 | DC Fuse 5A, 1000V | 4081 | Clean Solar Power (Bellary) | EA | 5 | 15930
S391823001 | AC Cabinet Fan | 4081 | Clean Solar Power (Bellary) | EA | 1 | 17700
S391824001 | DC Cabinet Fan | 4081 | Clean Solar Power (Bellary) | EA | 1 | 17700
S391825001 | Application Board | 4081 | Clean Solar Power (Bellary) | EA | 1 | 127440
S391826001 | Capacitor | 4081 | Clean Solar Power (Bellary) | EA | 1 | 37170
S391827001 | Power board | 4081 | Clean Solar Power (Bellary) | EA | 1 | 224200
S391828001 | Measurement Card | 4081 | Clean Solar Power (Bellary) | EA | 1 | 236000
S391829001 | Voltage sensing card | 4081 | Clean Solar Power (Bellary) | EA | 1 | 245440
S391830001 | Schneider Relay, 24 V | 4081 | Clean Solar Power (Bellary) | EA | 1 | 413
S391832003 | Schneider Relay Base, 24 V | 4081 | Clean Solar Power (Bellary) | EA | 2 | 2218.4
S411702001 | UPS- 1 KVA | 4081 | Clean Solar Power (Bellary) | EA | 0 | 0
S422202001 | UPS Battery- 12V 26AH | 4081 | Clean Solar Power (Bellary) | EA | 0 | 0
S422703002 | UPS Battery- 12V 100AH Exide | 4081 | Clean Solar Power (Bellary) | EA | 0 | 0
S423705005 | Street Light. | 4081 | Clean Solar Power (Bellary) | EA | 15 | 9027
S481702001 | PSS Lightening Arrestor Make -LAMCO-96KV | 4081 | Clean Solar Power (Bellary) | EA | 1 | 37760
S521703001 | Temp indicator 2245H/T2 | 4081 | Clean Solar Power (Bellary) | EA | 0 | 0
S523002001 | SPD- Power SPD- Phoenix Contact | 4081 | Clean Solar Power (Bellary) | EA | 2 | 3986.04
S524706001 | COMMUNICATION SPD | 4081 | Clean Solar Power (Bellary) | EA | 5 | 37435.5
S561801001 | Main Moving Contact for CTR Make OLTC | 4081 | Clean Solar Power (Bellary) | NOS | 3 | 25296.49
S561802001 | esistor Moving Contact CTR Make OLTC | 4081 | Clean Solar Power (Bellary) | NOS | 3 | 25296.48
S561803001 | Fixed Contact CTR Make OLTC | 4081 | Clean Solar Power (Bellary) | NOS | 0 | 0
S561804001 | Transition Resistance Assembly CTR OLTC | 4081 | Clean Solar Power (Bellary) | SET | 2 | 29731.16
S561805001 | Top/Bottom Cover Gasket Set CTR OLTC | 4081 | Clean Solar Power (Bellary) | SET | 1 | 1681.5
S561806001 | Copper Braided Wire CTR Make OLTC | 4081 | Clean Solar Power (Bellary) | NOS | 8 | 3452.68
S561807001 | Oil Seal for CTR Make OLTC | 4081 | Clean Solar Power (Bellary) | NOS | 2 | 699.5
S602101001 | 110kV Met PT 110000V/110V 2C 0.2/.2 | 4081 | Clean Solar Power (Bellary) | EA | 2 | 345740
S621500001 | Transformer oil - Barrel 210 Ltr | 4081 | Clean Solar Power (Bellary) | EA | 0 | 0
S621500001 | Transformer oil - Barrel 210 Ltr | 4081 | Clean Solar Power (Bellary) | EA | 4.5 | 112236.41
S751601001 | Solar modules cleaning chemical | 4081 | Clean Solar Power (Bellary) | L | 50 | 25960
S861706001 | DWC Conduit PIPE 50/38mm Black | 4081 | Clean Solar Power (Bellary) | M | 1000 | 43660